## Calibration result
|  |  |  | 证书编号： |  |  |  |  | Example | Unqualified | Qualified
|  |  |  | Certificate No. | [5 empty] | 0.054% | 0.01%
校准结果 | [5 empty] | 结果分析
Results of Calibration | [5 empty] | Results analysis
[6 empty] | Equipment Number |  | Calibration Date |  | Unit | psi
[6 empty] | Accuracy | 0.05 | Min(Range) | 0 | Max(Range) | 100
Channel number | CH1 |  | Unit | psi |  | Channel number | CH1
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH2 |  | Unit | psi |  | Channel number | CH2
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH3 |  | Unit | psi |  | Channel number | CH3
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH4 |  | Unit | psi |  | Channel number | CH4
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH5 |  | Unit | psi |  | Channel number | CH5
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH6 |  | Unit | psi |  | Channel number | CH6
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH7 |  | Unit | psi |  | Channel number | CH7
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH8 |  | Unit | psi |  | Channel number | CH8
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH9 |  | Unit | psi |  | Channel number | CH9
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH10 |  | Unit | psi |  | Channel number | CH10
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH11 |  | Unit | psi |  | Channel number | CH11
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH12 |  | Unit | psi |  | Channel number | CH12
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH13 |  | Unit | psi |  | Channel number | CH13
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH14 |  | Unit | psi |  | Channel number | CH14
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH15 |  | Unit | psi |  | Channel number | CH15
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
Channel number | CH16 |  | Unit | psi |  | Channel number | CH16
Standard pressure | Device display value |  | Indication error | Return error | U（%FS） （k=2） | Standard pressure | 丨Indication error丨 /FS | max | 丨Return error丨 /FS | max | 备注
| Forward stroke | Backward stroke |  |  |  | （psi）
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% | 0% | 0% | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0% |  | 0%
以下空白
Blank Below